## Slide 1
PANORAMA Challenge — AI Models for PDAC Detection on CT
Case-level diagnosis (AUROC) and lesion detection (AP), per model
# | Model (team) | Technique | AUROC reader (n=391) | AUROC test (n=1130) | AP reader | AP test
— | Ensemble AI (top-3) | Equal-weighted average of top-3 | 0.915 | 0.918 | 0.740 | 0.707
1 | H. Liu — DTI (Siemens Healthineers) | CNN · nnU-Net + ResU-Net (2-stage) | 0.913 | 0.916 | 0.758 | 0.720
2 | Z. Deng — Hero of Ages (Cedars-Sinai) | CNN · nnU-Net + radiomics + SVM (3-stage) | 0.911 | 0.914 | 0.653 | 0.638
3 | N. Debs / R. Vetil — Panoramix (Guerbet) | CNN · nnU-Net + logistic regression (4-step) | 0.896 | 0.903 | 0.736 | 0.689
4= | Y. Ching-Yuan — Fight Tumor (UHN Toronto) | CNN · nnU-Net + FPN classification head | 0.904 | 0.895 | 0.641 | 0.631
4= | PANORAMA baseline (Radboud UMC) | CNN · nnU-Net v2 (2-stage) | 0.909 | 0.915 | 0.671 | 0.634
Source: PANORAMA supplementary appendix, Figure S8 (Alves N, Schuurmans M, Rutkowski D, et al. Lancet Oncol 2025). AUROC = area under the ROC curve (patient-level diagnosis); AP = average precision (lesion-level detection). Ensemble AI system = equal-weighted average of the top-3 (Liu + Deng + Debs/Vetil). Sensitivity/specificity: see slide 3.
1

## Slide 2
Availability, Code & Resources
What is truly public per model — and where embeddings can be extracted
Model (team) | Source code | Weights | Inference container (grand-challenge.org) | Embedding extraction
PANORAMA baseline (Radboud) | github.com/DIAGNijmegen/PANORAMA_baseline | Zenodo 11160381 | algorithms/baseline-panorama/ | YES
H. Liu — DTI (Siemens) | github.com/han-liu/PDAC_Detection | Google Drive (link in README) | algorithms/attempt/ | YES
Z. Deng — Hero of Ages (Cedars-Sinai) | not public | not public | algorithms/heroofage/ | NO
N. Debs / R. Vetil — Panoramix (Guerbet) | not public | not public | algorithms/test-79/ | NO
Y. Ching-Yuan — Fight Tumor (UHN) | not public * | not public | algorithms/submission_1111/ | NO
Shared resources (for retraining / evaluation)
▸ Annotations / labels: github.com/DIAGNijmegen/panorama_labels
▸ Images (2238 CT scans): Zenodo records 13715870, 13742336, 11034011, 10999754
▸ Official evaluator: github.com/DIAGNijmegen/PANORAMA_gc_evaluator
▸ Pre-registered protocol: Zenodo 10599559
Embedding extraction is feasible only where code + weights are public (baseline, Liu). The other three are inference-only containers: images are uploaded to the platform and only outputs are returned. * Fight Tumor's cited URL points to Liu's repository, which does not contain their FPN classification code. Source: suppl. appendix §S4.1 and team method papers §S4.4.
2

## Slide 3
Sensitivity & Specificity — and Key Notes
Reported only for the ensemble AI system, not per individual model
Ensemble AI system | Sensitivity | Specificity | Operating point
Sequestered testing cohort (n=1130) | 85.7% (95% CI 82.8–89.5) | 83.5% (95% CI 80.9–86.3) | optimal ROC threshold
Reader-study subset (n=391) | 85.4% (95% CI 75.5–87.8) | 84.6% (95% CI 81.0–89.8) | optimal ROC operating point
Key notes
▸ Per-model sensitivity/specificity are NOT reported. Figure S8 gives only AUROC and AP per model; sens/spec are published only for the ensemble AI system (above).
▸ Embedding extraction: feasible only for H. Liu (DTI) and the PANORAMA baseline — the only models with public code + weights.
▸ AI vs radiologists (n=391): ensemble AUROC 0.92 vs radiologists' 0.88 — non-inferior (p<0.0001) and superior (p=0.001).
▸ No clinical variables used: no algorithm used age/sex/scanner; all rely on the CT image only. All are CNNs (U-Net / nnU-Net) — no transformers, no foundation models.
▸ Ensemble is not a downloadable model: it is the equal-weighted average of the three top models' patient-level scores, so it must be recomputed from them.
Sources: main paper (Findings) and supplementary appendix (Alves N, et al. PANORAMA. Lancet Oncol 2025).
3

## Slide 4
How it works — PANORAMA Baseline (Radboud UMC)
Two chained nnU-Nets: first find the pancreas, then look for the tumour inside it
Input CT
Contrast-enhanced CT, portal-venous phase, whole abdomen. Resampled to a coarse 4.5 × 4.5 × 9.0 mm grid so stage 1 runs fast.
1
→
Stage 1 Find the pancreas
A low-resolution nnU-Net predicts a binary pancreas mask (Dice loss). It outputs one class only: “pancreas” vs background.
2
→
Crop the box
The bounding box of that predicted mask, enlarged by a margin of 100 × 50 × 15 mm, is cut out of the full-resolution CT.
3
→
Stage 2 Find the tumour
A high-resolution nnU-Net runs on the crop and segments 7 classes: tumour, veins, arteries, pancreas, pancreatic duct, bile duct (cross-entropy loss).
4
→
Clean up & output
Tumour probability is kept only inside the dilated pancreas (5×5×5), lesion candidates are extracted, and the map is placed back into the full CT.
5
Two outputs — and the metric each one feeds
▸ 3D detection map: same size as the CT; each candidate lesion carries a confidence 0–1. Scored by AP — a candidate counts as correct if its IoU with the true tumour is ≥ 0.1.
▸ Patient likelihood score: the maximum value of the detection map — one number 0–1 per patient. Scored by AUROC.
Sources: PANORAMA_baseline README and source code (src/process.py, src/data_utils.py, Dataset103/Dataset104 dataset.json); hit criterion (IoU ≥ 0.1) from suppl. appendix §S4.2. Ground-truth segmentations are used only to train the networks, never as input at inference.
4

## Slide 5
How it works — H. Liu “PanDx”, Team DTI (Siemens Healthineers)
1st place: same two-stage idea, but stage 1 is reused and stage 2 is rebuilt
Input CT
Contrast-enhanced CT, portal-venous phase. The CT image is the only input — no age, sex or scanner data is used.
1
→
Stage 1 Reuse the baseline
Takes the baseline's pretrained low-resolution nnU-Net unchanged — “eliminating the need for retraining”. It segments the union of tumour + parenchyma + duct.
2
→
Crop the box
The ROI is cropped from the high-resolution image with a margin of 100 × 50 × 15 mm — same geometry as the baseline.
3
→
Stage 2 Their own network
An nnU-Net with a ResU-Net architecture and cross-entropy loss segments all six PDAC-related structures. Trained with 5-fold cross-validation.
4
→
Detection map & score
Softmax maps of the 5 folds are averaged; Report-Guided-Annotation extracts lesion candidates; the patient score is the map's maximum.
5
What differs from the baseline — and the result
▸ Architecture & loss: ResU-Net instead of the default U-Net, and cross-entropy only instead of Dice + CE — “to better fit the detection task”.
▸ Fold ensembling: the final segmentation averages the softmax probabilities of all 5 folds; folds were stratified by lesion size, age and sex (only to balance the splits, not as model input).
▸ Result: 1st place — AUROC 0.916 and AP 0.720 on the sequestered testing cohort (n=1130).
Sources: suppl. appendix §S4.4 (Team DTI method paper) and the public repository github.com/han-liu/PDAC_Detection (main.py, Dataset103 + Dataset107); paper: Liu H, Gao R, Krieg E, Grbic S. “PanDx”, MICCAI Workshop on Applications of Medical AI, 2025 (arXiv 2503.10068).
5

## Slide 6
Extracting Embeddings from the Two Open Models
A vector of numbers describing each scan — possible only for PanDx and the PANORAMA baseline
Load the network
Both repos run inference as a command-line subprocess, which hands back only files. Load the model through nnU-Net's Python API instead: predictor.network exposes the real PyTorch module.
1
→
Tap the encoder
The forward pass is skips = encoder(x) → decoder(skips). A forward hook on network.encoder captures the feature maps; the last one is the bottleneck — the most compressed, most informative layer.
2
→
Pool & aggregate
The bottleneck is a 3D map, and nnU-Net predicts patch by patch (sliding window). Average-pool each patch, then aggregate across patches to obtain a single vector per exam.
3
→
Your embedding
320 numbers per scan. Deterministic — the same CT always gives the same vector — and it costs exactly one ordinary inference run. Roughly 100 lines of wrapper code.
4
The 320-feature problem
▸ Too many features, too few patients: 320 numbers against a few hundred cases invites overfitting — the classifier memorises noise instead of signal.
▸ Fixes: reduce with PCA to a handful of components, or apply strong L1/L2 regularisation, or select features.
▸ Non-negotiable: fit PCA/selection inside the training folds only. Fitting on the full dataset leaks information and inflates the result.
Only these two models expose weights — the other three are inference-only containers. Use the stage-2 detector (Dataset104 baseline / Dataset107 PanDx). The vector describes the cropped pancreas ROI, not the whole CT. Bottleneck width verified in plans.json; hook point in the nnU-Net v2 source.
6

## Slide 7
The Building Blocks — from CNN to U-Net
How these networks actually look at a CT scan
A CNN learns filters
Small filters slide over the image and produce feature maps. Early layers pick up edges and blobs; deeper layers combine them into shapes — the outline of an organ, the texture of a tumour.
“CNN” names the family, not one specific model.
Why the shape is a “U”
A classifier only answers “what is in this image”, so it keeps compressing down to one label.
Segmentation must answer “what is THIS voxel” — so after compressing, the network has to climb back up to full resolution.
Compress + climb back = the letter U.
CT patch in
segmentation out
32
128
64
64
128
32
skip connections
320 bottleneck
the most compressed layer — this is where embeddings are tapped (slide 6)
Going down: understand WHAT is there. Coming up: recover WHERE it is.
The skips hand the fine detail straight across, so the borders stay sharp.
Channel widths are the real ones from the PANORAMA baseline detector (plans.json — features_per_stage: 32, 64, 128, 256, 320, 320; six levels, simplified to three here for clarity).
7

## Slide 8
nnU-Net & ResU-Net — decoding the labels
One of them is not a network at all; the other is a small twist on the U
nnU-Net — the chef, not the ingredient
The name is a pun: “no-new-Net”. It is not an architecture — it is a self-configuring pipeline.
You hand it a dataset; it measures image sizes, voxel spacing and number of classes, then decides everything by itself: patch and batch size · network depth and channel widths · resampling and normalisation · augmentation · loss and learning rate · 5-fold cross-validation · sliding-window inference.
That is the real advantage: it tops benchmarks by getting every setting right, not by using an exotic architecture.
ResU-Net — a U-Net with shortcuts
The same U, but every block also passes its input straight to its output, where the two are added.
So a block no longer has to learn the whole answer — only the correction to add. Easier to train, and deeper networks stop degrading. Same idea as ResNet.
conv → conv
+
the shortcut
input
output
What the labels on slide 1 actually mean
Label | What it actually means
CNN · nnU-Net v2 (2-stage) PANORAMA baseline | CNN family · configured by nnU-Net v2 · architecture = standard U-Net (PlainConvUNet) · two networks chained
CNN · nnU-Net + ResU-Net (2-stage) H. Liu — PanDx | Identical, except stage 2 swaps the default U-Net for a ResU-Net
The two systems are nearly the same: PanDx reuses the baseline's stage 1 unchanged and only rebuilds stage 2. Its edge comes from the loss, fold stratification and post-processing rather than from the architecture (suppl. appendix §S4.4; architecture confirmed in the models' plans.json).
8